## Contents
All details in SI

## Uses
Page | ID | Ladder Rung | Demand (Unit/Year) | Base emissions (kgCO2e/unit) | Electrification Emissions (kgCO2e/unit) | Electrification Emissions 2 (kgCO2e/unit) | Unit | Vector | Direct Emissions | Energy Inputs (kWh) | Input (kgH2e/unit) | Min Hydrogen (kg/yr) | Total Demand (kgH2/yr)
| Fertiliser-AmmoniumNitrate | A | 2462857142.8571 | 1.5 | 0 | 0 | kg | NH3 | 0.82121 | 0.46892 | 0.035824 | 0 | 88228235.2941 | 3694285714.2857 | 17911764.7059 | 0
| Fertiliser-Phosphate | A | 239130434.7826 | 1.48 | 0 | 0 | kg | NH3 | 0.73475 | 0.16112 | 0.038824 | 0 | 9283887.468 | 353913043.4783 | 17911764.7059 | 0
| Hydrogenation | A | 195000000 | 12.5 | 0 | 0 | kg | CH2 | 0 | 0 | 1 | 0 | 195000000 | 2437500000 | 241000000 | 0
| Methanol | A | 32000000 | 0.709 | 0 | 0 | kg | CH3OH | 0 | 0 | 0.208 | 0 | 6656000 | 22688000 | 110240000 | 0 | 630000000000 | 0.013 | 0 | 0 | kWh | NH3 | 0 | 0 | 0.0015 | 47250000 | 945000000 | 8190000000
| Shipping-Ammonia | B | 2790000000 | 3.25 | 0 | 0 | kg | NH3 | 0 | 0 | 0.36529 | 0 | 1019170588.2353 | 9067500000 | 1019170588.2353 | 50958529.4118
| JetAviation | B | 11100000000 | 3.18 | 0 | 0 | kg | LH2 | 0 | 0 | 0.36 | 0 | 3996000000 | 35298000000 | 3240000000 | 10389600000
| IronandSteel | B | 11200000000 | 1.83 | 0.067 | 0.72 | kg | CH2 | 0.0729 | 0.45 | 0.0616 | 0 | 689920000 | 20496000000 | 464100000 | 12000000
| Longdurationgridbalancing | B | 10000000000 | 0.4 | 0.019 | 0.2 | kWh | CH2 | 0 | 0 | 0.05 | 0 | 500000000 | 4000000000 | 500000000 | 630000
| Non-RoadMobileMachinery | C | 40800000000 | 0.24 | 0.019 | 0.162 | kWh | CH2 | 0 | 0 | 0.03 | 0 | 1224000000 | 9792000000 | 2002500 | 29200
| Biogasupgrading | C | 6800000 | 0.32 | 0 | 0 | kWh | CH2 | 0.013 | 0 | 0.07 | 0 | 476000 | 2176000 | 29166666.6667 | 0
| Longdistancetrucksandcoaches | D | 175000000000 | 0.119 | 0.009375 | 0.1 | tkm | CH2 | 0 | 0 | 0.006875 | 0 | 1203125000 | 20825000000 | 1203125000 | 29200
| HighTemperatureHeat | D | 20000000000 | 0.206 | 0 | 0 | kWh | CH2 | 0 | 0 | 0.03 | 0 | 600000000 | 4120000000 | 600000000 | 2700000
| CommercialHeating | E | 87000000000 | 0.206 | 0.005 | 0.061 | kWh | CH2 | 0 | 0 | 0.03 | 0 | 2610000000 | 17922000000 | 2610000000 | 648
| RemoteandRuralTrains | F | 20000000000 | 0.106 | 0.0024 | 0.02624 | pkm | CH2 | 0 | 0 | 0.0078 | 0 | 156000000 | 2120000000 | 156000000 | 327000
| LightTrucks | F | 57800000000 | 0.4 | 0.0085 | 0.092933 | vkm | CH2 | 0 | 0 | 0.028 | 0 | 1618400000 | 23120000000 | 1618400000 | 29200
| MetroTrainsandBuses | G | 24000000000 | 0.108 | 0.0024 | 0.02624 | pkm | CH2 | 0 | 0 | 0.0078 | 0 | 187200000 | 2592000000 | 187200000 | 29200
| 2and3wheelers | G | 2900000000 | 0.11 | 0.0042 | 0.04592 | vkm | CH2 | 0 | 0 | 0.0136 | 0 | 39440000 | 319000000 | 39440000 | 29200
| Cars | G | 401600000000 | 0.169 | 0.00285 | 0.03116 | vkm | CH2 | 0 | 0 | 0.01 | 0 | 4016000000 | 67870400000 | 4016000000 | 29200
| Mid/LowTemperatureHeat | G | 49000000000 | 0.206 | 0.005 | 0.054667 | kWh | CH2 | 0 | 0 | 0.03 | 0 | 1470000000 | 10094000000 | 1470000000 | 1200000
| Domesticheating | G | 283000000000 | 0.206 | 0.005 | 0.054667 | kWh | CH2 | 0 | 0 | 0.03 | 0 | 8490000000 | 58298000000 | 8490000000 | 345

## Electrification Options
Name | Emissions Reduction per kWh | country
UK Grid | 0.21 | UK
Displacing Gas Power Generation | 0.46 | UK
Electric Vehicle | 0.65 | UK
Heat Pump (CoP 3) | 0.61 | UK
Heat Pump (CoP 4) | 0.92 | UK
Displacing Coal Power Generation | 0.94 | UK

## EnergySources
ID | Location | Availability | E_type | Emissions (gCO2e/kWh) | Base Value (gCO2e/kWh) | Utilisation Factor | Country
OffshoreWind(UK) | Offshore | Primary | E | 6.4;19.5 | 12.9 | 0.12;0.43 | UK
OnshoreWind(UK) | Onshore | Primary | E | 6.6;13.4 | 10 | 0.38;0.56 | UK
Solar(UK) | Onshore | Primary | E | 60;100 | 42.7 | 0.19;0.23 | UK
Grid2030(UK) | Onshore | Both | E | 95;228 | 95 | 0.8;1 | UK
GridCurrent(UK) | Onshore | Both | E | 228;229 | 228 | 0.8;1 | UK
NG(UK) | Onshore | Primary | NG | 3.5;30 | 12 | 0.8;1 | UK
LNG(UK) | Onshore | Primary | E | 19;57 | 46 | 0.8;1 | UK
Wind(AU) | Onshore | Primary | E | 12.1;20.5 | 15.1 | 0.09;0.46 | Australia
Solar(AU) | Onshore | Primary | E | 22;60 | 51 | 0.22;0.32 | Australia
Grid2030(AU) | Onshore | Both | E | 479;811 | 579.6 | 0.8;1 | Australia
GridCurrent(AU) | Onshore | Both | E | 625;626 | 625 | 0.8;1 | Australia
NG(AU) | Onshore | Primary | NG | 3;10 | 3 | 0.8;1 | Australia
Wind(USA) | Onshore | Primary | E | 10.9;23.1 | 14.9 | 0.06;0.51 | USA
Solar(USA) | Onshore | Primary | E | 22;69 | 54.2 | 0.15;0.33 | USA
Grid2030(USA) | Onshore | Both | E | 233;370 | 233 | 0.8;1 | USA
GridCurrent(USA) | Onshore | Both | E | 370;371 | 370 | 0.8;1 | USA
NG(USA) | Onshore | Primary | NG | 20;45 | 44 | 0.8;1 | USA
Wind(SP) | Onshore | Primary | E | 11.9;24 | 17.1 | 0.05;0.45 | Spain
Solar(SP) | Onshore | Primary | E | 43;58 | 74 | 0.24;0.33 | Spain
Grid2030(SP) | Onshore | Both | E | 79.5;174 | 79.5 | 0.8;1 | Spain
GridCurrent(SP) | Onshore | Both | E | 174;175 | 174 | 0.8;1 | Spain
Wind(EG) | Onshore | Primary | E | 11.7;41.6 | 19 | 0.08;0.57 | Egypt
Solar(EG) | Onshore | Primary | E | 45;56 | 47.9 | 0.32;0.34 | Egypt
Grid2030(EG) | Onshore | Both | E | 332;574 | 400 | 0.8;1 | Egypt
GridCurrent(EG) | Onshore | Both | E | 574;575 | 574 | 0.8;1 | Egypt
NG(EG) | Onshore | Primary | NG | 20;50 | 35 | 0.8;1 | Egypt
Wind(MA) | Onshore | Primary | E | 11.7;41.6 | 19 | 0.4;0.56 | Mauritania
Solar(MA) | Onshore | Primary | E | 47;58 | 47.9 | 0.3;0.32 | Mauritania
Grid2030(MA) | Onshore | Both | E | 261;464 | 374 | 0.8;1 | Mauritania
GridCurrent(MA) | Onshore | Both | E | 464;465 | 464 | 0.8;1 | Mauritania
NG(MA) | Onshore | Primary | NG | 35;36 | 35 | 0.8;1 | Mauritania
Wind(BR) | Onshore | Primary | E | 10.9;23.1 | 14.9 | 0.41;0.52 | Brazil
Solar(BR) | Onshore | Primary | E | 29;58 | 41.7 | 0.2;0.31 | Brazil
Grid2030(BR) | Onshore | Both | E | 90;105 | 96 | 0.8;1 | Brazil
GridCurrent(BR) | Onshore | Both | E | 96;97 | 96 | 0.8;1 | Brazil
NG(BR) | Onshore | Primary | NG | 6;10 | 8.2 | 0.8;1 | Brazil
GlobalE | Onshore | Secondary | E | 400;500 | 460 | 0.8;1 | Global
GlobalNG | Onshore | Secondary | NG | 170;190 | 183 | 0.8;1 | Global
ShipFuel | Onshore | Secondary | Other | 250;270 | 261 | 0.8;1 | Global
Deisel | Onshore | Secondary | Other | 230;250 | 239 | 0.8;1 | Global
Undefined | Onshore | Secondary | Other | 0;0.000001 | 0 | 0.8;1 | Global
Wind(KA) | Onshore | Primary | E | 18;42.9 | 26.1 | 0.03;0.55 | Kazakhstan
Solar(KA) | Onshore | Primary | E | 44;76 | 45.2 | 0.28;0.33 | Kazakhstan
Grid2030(KA) | Onshore | Both | E | 400;821 | 600 | 0.8;1 | Kazakhstan
GridCurrent(KA) | Onshore | Both | E | 821;822 | 821 | 0.8;1 | Kazakhstan
NG(KA) | Onshore | Primary | NG | 20;50 | 35 | 0.8;1 | Kazakhstan

## Locations
ID | Location Type | Location | Country | Project Name | Lat | Long | Electrolysis | ATR | Vectors | EnergyTypes | EnergySources | Use | Max Supply (ktH2/yr)
PR_AU | Production | Onshore | Australia | Western Green Energy Hub | -30.7478 | 121.465 | y |  | LH2, NH3, CH2, CH3OH |  |  |  | 7200
PR_MA | Production | Onshore | Mauritania | Megaton Moon | 18.6211 | -12.4683 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 6100
PR_EG | Production | Onshore | Egypt | ACME SCZONE Green Ammonia Plant | 29.6932 | 32.3166 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 4400
PR_KA | Production | Onshore | Kazakhstan | Hyrasia one | 42.7982 | 53.5989 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 3500
PR_SP | Production | Onshore | Spain | Lacq Hydrgoen | 40.1794 | -2.0249 | y |  | LH2, NH3, CH2, CH3OH |  |  |  | 3300
PR_UK | Production | Onshore | UK | Teesside | 54.5767 | -1.2524 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 3000
PR_BR | Production | Onshore | Brazil | Green Energy Park | -7.6822 | -42.5222 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 2800
PR_USA | Production | Onshore | USA | Hydrogen City Phase 2 | 27.6712 | -98.614 | y | y | LH2, NH3, CH2, CH3OH |  |  |  | 2600
PO_US | Port | Onshore | USA | Corpus Christi, Texas | 27.7881 | -97.4078 |  |  | LH2, NH3, CH2, CH3OH
PO_FR | Port | Onshore | France | Merville-Franceville-Plage | 49.2786 | -0.24764 |  |  | LH2, NH3, CH2, CH3OH
PO_RU | Port | Onshore | Russia | Black Sea | 44.7432 | 37.7672 |  |  | LH2, NH3, CH2, CH3OH
PO_EG | Port | Onshore | Egypt | Ataka | 29.6434 | 32.3508 |  |  | LH2, NH3, CH2, CH3OH
PO_BR | Port | Onshore | Brazil | Port of Pecem | -3.5462 | -38.8352 |  |  | LH2, NH3, CH2, CH3OH
PO_AU | Port | Onshore | Australia | Port Bonython | -32.9873 | 137.7566 |  |  | LH2, NH3, CH2, CH3OH
PO_MA | Port | Onshore | Mauritania | Port Autonome de Nouakchott | 17.9925 | -16.0306 |  |  | LH2, NH3, CH2, CH3OH
PO_UKG | Port | Onshore | UK | Grain LNG Port | 51.4329 | 0.70109 |  |  | LH2, NH3, CH2, CH3OH
PO_UKT | Port | Onshore | UK | Teesside Port | 54.6391 | -1.1406 |  |  | LH2, NH3, CH2, CH3OH
EN_OFWUK | Energy | Offshore | UK | Shetland, ZE2 9PP | 60.271 | -1.1959 |  |  |  | E | Offshore Wind (UK)
EN_NGUK | Energy | Onshore | UK | Location of Offshore NG installation North Sea | 58.4505 | -1.8581 |  |  |  | NG | NG (UK), LNG
EN_WUK | Energy | Onshore | UK | Open Land near Teesside, proxy for direct connection to onshore wind farm | 54.6018 | -1.3851 |  |  |  | E | Onshore Wind (UK),Solar (UK)
EN_WSP | Energy | Onshore | Spain | Planned offshore wind project near hydrogen production. | 43.5913 | -5.9596 |  |  |  | E | Wind (SP)
EN_SSP | Energy | Onshore | Spain | Open Land near hydrogen project | 43.5269 | -5.9367 |  |  |  | E | Solar (SP)
EN_AKA | Energy | Onshore | Kazakhstan | Location of planned hydrogen project | 43.5918 | 52.7105 |  |  |  | E,NG | Wind (KA), Solar (KA), NG (KA)
EN_SNGBR | Energy | Onshore | Brazil | O Parqu Solar Nova Olinda | -8.2045 | -42.5549 |  |  |  | E,NG | Solar (BR), NG (BR)
EN_WBR | Energy | Onshore | Brazil | Lagoa dos Ventos | -8.9258 | -41.609 |  |  |  | E | Wind (BR)
EN_SWAU | Energy | Onshore | Australia | Location of planned projects | -30.2601 | 127.6859 |  |  |  | E | Solar (AU), Wind (AU)
EN_AMA | Energy | Onshore | Mauritania | Co-located with hydrogen project | 18.6211 | -12.4683 |  |  |  | E,NG | Solar (MA), Wind (MA), NG (MA)
EN_NGUS | Energy | Onshore | USA | Permian Basin Texas | 32.4148 | -102.9658 |  |  |  | NG | NG (USA)
EN_SUS | Energy | Onshore | USA | Solar Farm Location | 29.2693 | -98.4563 |  |  |  | E | Solar (USA)
EN_WUS | Energy | Onshore | USA | Wind Farm Location | 27.4812 | -98.9716 |  |  |  | E | Wind (USA)
EN_AEG | Energy | Onshore | Egypt | Co-located with hydrogen project | 29.6932 | 32.3166 |  |  |  | E,NG | Solar (EG), Wind (EG), NG (EG)
Use_UK | Uses | Onshore | UK | Teesside Port | 54.6391 | -1.1406 |  |  | LH2, NH3, CH2, CH3OH |  |  | Fertiliser - Ammonium Nitrate,Hydrogenation,Methanol,Shipping - Ammonia,Jet Aviation,Iron and Steel,Long duration grid balancing,Non-Road Mobile Machinery,Biogas upgrading,Long distance trucks and coaches,High Temperature Heat,Commercial Heating,Remote and Rural Trains,Light Trucks,Metro Trains and Buses,2 and 3 wheelers,Cars,Mid/Low Temperature Heat,Domestic heating,Fertiliser-Phosphate

## ProductionMethods
Page | ID | Process Name | E_type | Capacity | Capacity Factor | Lifetime | _yield | _loss_km | Location | Scale | Emissions_embodied | Emissions_embodiedkm | Emissions_process | Emissions_processkm | Emissions_OM | Emissions_OMkm | Energy_embodied | Energy_embodiedkm | Energy_process | Energy_processkm | Energy_OM | Energy_OMkm | H2emissions | H2emissionskm
2.1. | CPL | Centralised PEM | E | 30030030.03 | 1 | 20;40 | 0.95;1 | 0 | Onshore | Centralised - PEM | 56106183;107945462 | 0 | 0 | 0 | 0 | 0 | Embodied: 223000000; 290000000 | 0 | Base_E: 46.2;62.8 | 0 | 0 | 0 | 0.001;0.04 | 0
2.6. | AHL | ATR - High CCS | NG | 221555000 | 0.8;1 | 20;50 | 0.94;0.99 | 0 | Onshore | Centralised NG | 5760000;17285000 | 0 | 0.45;0.7 | 0 | 0 | 0 | Embodied: 21298000;63894000 | 0 | Base_E: 4.66;5.14,Base_NG:41.7;49 | 0 | 0 | 0 | 0 | 0

## Sheet1
Embodied Emissions Calcs - PEM
| Centralised (t/MW) |  | Tonnes/GW
| Mass (t) | Near Future (t) | tonnes | tonnes
Low Alloy Steel | 4.32 | 2.16 | 4320 | 2160 | 3.1435 | 13579.92 | 6789.96
Stainless Steel | 1.71 | 0.765 | 1710 | 765 | 5.831 | 9971.01 | 4460.715
Aluminium | 0.09 | 0.045 | 90 | 45 | 13.075 | 1176.75 | 588.375
Copper | 0.09 | 0.045 | 90 | 45 | 3.9995 | 359.955 | 179.9775
Polyethylene | 0.27 | 0.135 | 270 | 135 | 2.3255 | 627.885 | 313.9425
Electronic material (power, control) | 0.99 | 0.495 | 990 | 495 | #N/A | #N/A | #N/A
Process material (adsorbent, lubricant) | 0.18 | 0.09 | 180 | 90 | #N/A | #N/A | #N/A
Concrete | 5.04 | 2.52 | 5040 | 2520 | 0.1 | 504 | 252
[6 empty] | 28235520 | 13592970
Tetrafluoroethylene {GLO}¦ market for ¦ APOS, S |  |  | 7979.1 | 2518.2 | 122 | 973450.2 | 307220.4
Platinum {GLO}¦ market for ¦ APOS, U |  |  | 167.9 | 7.9 | 71023 | 11924761.7 | 561081.7
Carbon black {GLO}¦ market for ¦ APOS, S |  |  | 251.9 | 11.9 | 2.3746 | 598.1617 | 28.2577
Tetrafluoroethylene {GLO}¦ market for ¦ APOS, S |  |  | 2014.9 | 95.4 | 122 | 245817.8 | 11638.8
water, deionised {Europe without Switzerland}¦ market for water, deionised ¦ APOS, U |  |  | 181.9 | 8.6 | 0.00040626 | 0.073899 | 0.0034938
Methanol {GLO}¦ market for ¦ APOS, S |  |  | 181.9 | 8.6 | 0.9386 | 170.7313 | 8.072
Rhodium {GLO}¦ market for ¦ APOS, U |  |  | 447.8 | 15.9 | 80391 | 35999089.8 | 1278216.9
Carbon fibre reinforced plastic, injection moulded {GLO}¦ market for carbon fibre reinforced plastic, injection moulded ¦ APOS, S |  |  | 2758.2 | 1958.6 | 83.569 | 230500.0158 | 163678.2434
Titanium, primary {GLO}¦ market for ¦ APOS, U |  |  | 151320.9 | 0 | 49.105 | 7430612.7945 | 0
Gold {GLO}¦ market for ¦ APOS, U |  |  | 86.4 | 0 | 63929 | 5523465.6 | 0
Steel, chromium steel 18/8 {GLO}¦ market for ¦ APOS, U |  |  | 0 | 381538.5 | 5.079 | 0 | 1937834.0415
Tantalum, powder, capacitor-grade {GLO}¦ market for, 2030 ¦ APOS, U* |  |  | 0 | 54496.4 | 174.03 | 0 | 9484008.492
Glass fibre reinforced plastic, polyamide, injection moulded {GLO}¦ market for ¦ APOS, S |  |  | 30630.1 | 44589 | 8.8917 | 272353.6602 | 396472.0113
Steel, chromium steel 18/8 {GLO}¦ market for ¦ APOS, U |  |  | 250746.3 | 183138.5 | 5.079 | 1273540.4577 | 930160.4415
Gold {GLO}¦ market for ¦ APOS, U |  |  | 242 | 0 | 63929 | 15470818 | 0
Tantalum, powder, capacitor-grade {GLO}¦ market for, 2030 ¦ APOS, U* |  |  | 0 | 156949.7 | 174.03 | 0 | 27313956.291
Aluminium alloy, metal matrix composite {GLO}¦ market for ¦ APOS, S |  |  | 19047.7 | 6731.6 | 19.15 | 364763.455 | 128910.14
[6 empty] | 79709942.4501 | 42513213.7939
[6 empty] | 107945462.4501 | 56106183.7939
660000000
|  |  | 75000000 |  |  | 107945462 | 56106183

## TransmissionInfra
Page | ID | Process Name | Vector | Capacity | Capacity Factor | Lifetime | Unit | Speed | Yield | _loss_km | Distance_Lim | Location | Emissions_embodied | Emissions_embodiedkm | Emissions_process | Emissions_processkm | Emissions_OM | Emissions_OMkm | Energy_embodied | Energy_embodiedkm | Energy_process | Energy_processkm | Energy_OM | Energy_OMkm | Transmission Vector | H2emissions | H2emissionskm | TransType
| 1 | New H2 Pipeline (Offshore) | CH2 | 390390390.3904 | 0.5;1 | 40;70 | km/hr | 72 | 0.99;1 | 0;0.00006 | 1200 | Offshore |  | 1060000;2120000 | [5 empty] | Embodied:12000000;24000000 | Base_E:0;0.95 | Base_E:0.000142;0.000426 |  |  | CH2 | 0;0.01 | 0;0.00006 | Pipeline
| 3 | New H2 Pipeline (Onshore) | CH2 | 390390390.3904 | 0.5;1 | 40;70 | km/hr | 72 | 0.99;1 | 0;0.00006 | 5000 | Onshore |  | 1100000;2170000 | [5 empty] | Embodied:12100000;24200000 | Base_E:0;0.95 | Base_E:0.000142;0.000426 |  |  | CH2 | 0;0.01 | 0;0.00006 | Pipeline
| 5 | Existing NG Pipeline (Offshore) | NG | 14080000 | 0.5;1 | 40;70 | km/hr | 72 | 1 | 0 | 1200 | Offshore |  | 960000;1920000 | [5 empty] | Embodied:182000000;273000000 |  | Base_E:0.000024 |  |  | NG | 0 | 0 | Pipeline
| 6 | Existing NG Pipeline (Onshore) | NG | 10945000 | 0.5;1 | 40;70 | km/hr | 72 | 1 | 0 | 5000 | Onshore |  | 695000;1390000 | [5 empty] | Embodied:14400000;21600000 |  | Base_E:0.000024 |  |  | NG | 0 | 0 | Pipeline
| 7 | Cable (Offshore) | E | 5256000000 | 0.5 | 20;50 | kWh | 0 | 0.985;0.995 | 0 | 800 | Offshore |  | 132000;264000 | [5 empty] | Embodied:3744000;5616000 |  |  |  |  | E | 0 | 0 | Cable
| 8 | Cable (Onshore) | E | 5256000000 | 0.5 | 20;50 | kWh | 0 | 0.985;0.995 | 0 | 2500 | Onshore |  | 117000;234000 | [5 empty] | Embodied:3200000;480000 |  |  |  |  | E | 0 | 0 | Cable
| 9 | Tanker LH2 | LH2 | 11376000 | 0.5;1 | 20;37 | km/hr | 20;39 | 0.9844;0.9948 | 0.0000056;0.000028 | 500000 | Offshore | 16300000;32500000 | [5 empty] | Embodied:334000000;500000000 |  | Base_E:0.38;0.8 | ShipFuel:0.0000288912;0.0000375 |  |  | LH2 | 0.0052;0.0156 | 0.0000056;0.000028 | Tanker
| 10 | Tanker NH3 | NH3 | 1926176 | 0.5;1 | 20;37 | km/hr | 20;39 | 0.995;0.998 | 0;0.0000025 | 500000 | Offshore | 16300000;32500000 | [5 empty] | Embodied:334000000;500000000 |  | Base_E:0.16;0.224 | ShipFuel:0.000074;0.00024 |  |  | NH3 | 0 | 0 | Tanker
| 11 | Tanker CH3OH | CH3OH | 1422000 | 0.5;1 | 20;37 | km/hr | 20;39 | 0.998;1 | 0 | 500000 | Offshore | 16300000;32500000 | [5 empty] | Embodied:334000000;500000000 |  | Base_E:0.16;0.224 | ShipFuel:0.000024;0.00033 |  |  | CH3OH | 0 | 0 | Tanker
| 15 | CH2 Truck | CH2 | 670 | 0.8;1 | 5;12 | km/hr | 30;100 | 0.99;1 | 0;0.000006 | 500000 | Onshore | 16669;33338 | [5 empty] | Embodied:106500;160000 |  | Base_E:0;0.95 | Deisel:0.0002;0.00027 |  |  | CH2 | 0;0.01 | 0;0.00006 | Truck
| 16 | LH2 Truck | LH2 | 4300 | 0.8;1 | 5;12 | km/hr | 30;100 | 0.9844;0.9948 | 0.0000056;0.000028 | 500000 | Onshore | 16669;33338 | [5 empty] | Embodied:106500;160000 |  | Base_E:0.38;0.8 | Deisel:0.0002;0.00027 |  |  | LH2 | 0.0052;0.0156 | 0.0000056;0.000028 | Truck
| 17 | NH3 Truck | NH3 | 459 | 0.8;1 | 5;12 | km/hr | 30;100 | 0.995;0.998 | 0;0.0000025 | 500000 | Onshore | 16669;33338 | [5 empty] | Embodied:106500;160000 |  | Base_E:0.16;0.224 | Deisel:0.0011;0.0015 |  |  | NH3 | 0 | 0 | Truck
| 18 | CH3COH Truck | CH3OH | 390 | 0.8;1 | 5;12 | km/hr | 30;100 | 0.998;1 | 0 | 500000 | Onshore | 16669;33338 | [5 empty] | Embodied:106500;160000 |  | Base_E:0.16;0.224 | Deisel:0.0016;0.00216 |  |  | CH3OH | 0 | 0 | Truck

## Storage
ID | Vector | Capacity | Capacity Factor | Yield | _loss_day | Lifetime | Location | Emissions_embodied | Emissions_embodiedday | Emissions_process | Emissions_processday | Emissions_OM | Emissions_Omday | Energy_embodied | Energy_embodiedday | Energy_process | Energy_processday | Energy_OM | Energy_Omday | Storage Vector | H2emissions
CH2 Storage | CH2 | 68985 | 25;75 | 0.99;1 | 0;0.0001 | 5;15 | Onshore | 94500;309960 | [5 empty] | Embodied: 55440;844200 |  | Base_E:0;1 |  |  |  |  | 0;0.01
LH2 Storage | LH2 | 690701.6667 | 25;75 | 0.9968;1 | 0.0006;0.0067 | 5;15 | Onshore | 94500;309961 | [5 empty] | Embodied: 55440;844200 |  | Base_E:1.8;2.4 |  |  |  |  | 0;0.005
NH3 Storage | NH3 | 11690735.2941 | 25;75 | 0.9996;1 | 0;0.00003 | 5;15 | Onshore | 94500;309962 | [5 empty] | Embodied:55440;844200 |  | Base_E:0.45;1.8 |  |  |  |  | 0
CH3OH Storage | CH3OH | 9778958.3333 | 25;75 | 1 | 0 | 5;15 | Onshore | 94500;309963 | [5 empty] | Embodied:55440;844200 |  | Base_E:0;0.096 |  |  |  |  | 0

## Conversions
Page | ID | InputVector | OutputVector | Capacity | Capacity Factor | Lifetime | Unit | Yield | Location | Emissions_embodied | Emissions_process | Emissions_OM | Energy_embodied | Energy_process | Energy_OM | H2emissions | H2 input
| CH2-LH2 | CH2 | LH2 | 18250000 | 0.6;1 | 20;40 |  | 0.984;0.999 | Onshore | 5950000;11900000 |  |  | Embodied:30000000;45000000 | Base_E:12;15 |  | 0.0014;0.0165 | 1
| CH2-NH3 | CH2 | NH3 | 441176470.5882 | 0.6;1 | 30;70 |  | 0.9;0.99 | Onshore | 670000000;1340000000 |  |  | Embodied:520000000;780000000 | Base_E:5.1;6.12 |  | 0 | 0.17647
| CH2-CH3OH | CH2 | CH3OH | 123187500 | 0.6;1 | 20;50 |  | 0.59;0.65 | Onshore | 19000000;38000000 |  |  | Embodied:122232000;180000000 | Base_E:0.2;3.62 |  | 0 | 0.208
| LH2-CH2 | LH2 | CH2 | 18250000 | 0.6;1 | 20;40 |  | 0.984;0.999 | Onshore | 5950000;11900000 |  |  | Embodied:30000000;45000000 | Base_E:0;0 |  | 0.0014;0.0165
| LH2-NH3 | LH2 | NH3 | 441176470.5882 | 0.6;1 | 30;70 |  | 0.88;0.98 | Onshore | 670000000;1340000000 |  |  | Embodied:520000000;780000000 | Base_E:5.1;6.12 |  | 0.0014;0.0165
| LH2-CH3OH | LH2 | CH3OH | 123187500 | 0.6;1 | 20;50 |  | 0.58;0.64 | Onshore | 19000000;38000000 |  |  | Embodied:122232000;180000000 | Base_E:1.6;1.92 |  | 0.0014;0.0165
| CH3OH-LH2 | CH3OH | LH2 | 123187500 | 0.6;1 | 20;40 |  | 0.79;0.99 | Onshore | 19000000;38000000 | 7.33;8.8 |  | Embodied:122232000;180000000 | Base_E:12;14.4,Base_NG:6.7;8.04 |  | 0.0014;0.0165
| CH3OH-NH3 | CH3OH | NH3 | 441176470.5882 | 0.6;1 | 30;70 |  | 0.72;0.99 | Onshore | 738000000;1480000000 | 7.33;8.8 |  | Embodied:960000000;1420000000 | Base_E:5.1;6.12,Base_NG:6.7;8.04 |  | 0
| CH3OH-CH2 | CH3OH | CH2 | 123187500 | 0.6;1 | 20;50 |  | 0.8;1 | Onshore | 19000000;38000000 | 7.33;8.8 |  | Embodied:122232000;180000000 | Base_NG:6.7;8.04 |  | 0
| NH3-LH2 | NH3 | LH2 | 441176470.5882 | 0.6;1 | 30;70 |  | 0.66;0.69 | Onshore | 814000000;1630000000 |  |  | Embodied:1250000000;1870000000 | Base_E:14.3;17.5 |  | 0.0014;0.0165
| NH3-CH2 | NH3 | CH2 | 441176470.5882 | 0.6;1 | 30;70 |  | 0.67;0.70 | Onshore | 670000000;1340000000 |  |  | Embodied:520000000;780000000 | Base_E:1.4;2.0 |  | 0
| NH3-CH3OH | NH3 | CH3OH | 441176470.5882 | 0.6;1 | 20;50 |  | 0.59;0.65 | Onshore | 738000000;1480000000 |  |  | Embodied:960000000;1420000000 | Base_E:3.86;4.612 |  | 0
| CH2-CH2 | CH2 | CH2 | 441176470.5882 | 1 | 100 |  | 1 | Onshore | 0 |  | 0 | Embodied:0 | Base_E:0 | 0 | 0 | 0
| LH2-LH2 | CH2 | CH2 | 441176470.5882 | 1 | 100 |  | 1 | Onshore | 0 | 0 | 0 | Embodied:0 | Base_E:0 | 0 | 0 | 0
| CH3OH-CH3OH | CH2 | CH2 | 441176470.5882 | 1 | 100 |  | 1 | Onshore | 0 | 0 | 0 | Embodied:0 | Base_E:0 | 0 | 0 | 0
| NH3-NH3 | CH2 | CH2 | 441176470.5882 | 1 | 100 |  | 1 | Onshore | 0 | 0 | 0 | Embodied:0 | Base_E:0 | 0 | 0 | 0